Depths in a day - A new era of rapid-response Raman-based barometry using fluid inclusions.

Running title: Depths in a day – a new era of rapid-response barometry

Charlotte L. DeVitre1*, Penny E. Wieser1, Alexander T. Bearden1, Araela Richie1, Berenise Rangel1, Matthew LM Gleeson1, John Grimsich1, Kendra J. Lynn2, Drew T. Downs2, Natalia I. Deligne2, and Katherine M. Mulliken2

1 Earth and Planetary Sciences, University of California, Berkeley, CA 94270, USA

2 U. S. Geological Survey, Hawaiian Volcano Observatory, Hilo, HI 96720, USA

* Corresponding author: Charlotte L. DeVitre cl.devitre@gmail.com

ORCiD (CLD): 0000-0002-7167-7997

ORCiD (KJL): 0000-0001-7886-4376

ORCiD (DTD): 0000-0002-9056-1404

ORCiD (NID): 0000-0001-9221-8581

Word count: Abstract 148, Main 3990

Abstract (now max 500, prefer 200-300)

Rapid-response petrological monitoring is a major advance for volcano observatories to build and validate models of the plumbing systems that supply eruptions in near-real-time. The depth of magma storage has recently been identified as high-priority information for volcanic observatories that is not currently obtainable via petrological monitoring methods on timescales relevant to eruption response. Fluid inclusion barometry (using micro-thermometry or Raman spectroscopy) is a well-established petrological method to estimate magma storage depths and has been proposed to have potential as a monitoring tool though this has not been formally demonstrated. To address this deficiency, we performed a near-real-time rapid-response simulation for the September 2023 eruption of Kīlauea. We show that Raman-based fluid inclusion barometry can robustly determine reservoir depths within a day of receiving samples - a transformative timescale that has not previously been achieved by petrological methods. Fluid inclusion barometry has traditionally been limited to relatively deeply stored systems (e.g., two-phase CO2 fluid inclusions stored at >7 km) systems where fraction of H2O in the exsolved fluid (XH2O) can be safely assumed at a maximum of 10 mol% and micro-thermometric measurements of CO2 density are easy and accurate (>~ 0.4 g/cm3). Improvements on the accuracy of Raman spectroscopy measurements of low CO2 density over the past couple of decades has enabled access to more shallow storage systems, though in such systems the fraction of H2O in the fluid may be too high to conduct reliable measurements. To test the global applicability of rapid response fluid inclusion barometry, we compiled a global melt inclusion dataset (>4000 samples) for which we calculated fluid composition at the point of vapour saturation (XH2O). We show that fluid inclusions in crystal-hosts from mafic compositions (<57 wt% SiO2) – likely representative of recharge magmas worldwide – may trap fluids with XH2O low enough to make fluid inclusion barometry useful at many of the world’s most active and hazardous mafic volcanic systems (e.g. Iceland, Hawai’i, Galápagos, East African Rift, Réunion, Canary Islands, Azores, Cabo Verde).

Keywords: Fluid inclusions; Geobarometry; Raman Spectroscopy; Rapid-response; Volcano Monitoring

1. Introduction

Volcano observatories increasingly use data collected from erupted lava and tephra samples in near-real-time to obtain information about the magmatic plumbing system to help inform decision-making during volcanic crises (Gansecki et al., 2019; Re et al., 2021; Pankhurst et al., 2022). Most work so far has focused on the chemistry of erupted lavas and crystal cargoes (Pankhurst et al., 2022) to gain insight into changing melt composition and rheological properties (Gansecki et al., 2019). However, up until now, petrological monitoring has been unable to address the high-priority question– Where is the magma coming from? (Re et al., 2021). At well-monitored volcanoes, such information can be used to draw analogies to previous eruptive episodes associated with specific storage reservoirs (e.g., vigour, pathway, or length of eruption), and to help interpret geophysical signals of ongoing activity. At poorly monitored volcanoes, where there may be no prior constraints on magma storage geometry (Wieser et al., 2023b), depths of storage are a vital parameter to begin interpreting unrest associated with a new episode of eruptive activity (Pritchard et al., 2019). For example, the return of eruptive activity at Kīlauea in 2020 was accompanied by many questions about how the magmatic plumbing system had changed following the summit collapse in 2018 (Lynn et al., 2024).

Melt inclusion barometry, a widely popular petrological method to determine storage depths from volatile contents, is slow (Re et al., 2021) often taking months to complete (e.g., Lerner et al., (2021) and Wieser et al. (2021) were both submitted ~1 year and published two years after the 2018 LERZ eruption of Kīlauea had ended). While mineral barometry can be implemented faster than this, it is imprecise (Wieser et al., 2023a), and therefore can only constrain magma storage to very broad regions (e.g., crust vs. sub-Moho). It also has poor applicability at active volcanoes such as Kīlauea or Mauna Loa where the only major silicate phase in most lavas is olivine, the chemistry of which is not pressure-sensitive, and where a precision of 1–2 km is needed to distinguish between reservoirs (Baker and Amelung, 2012; Anderson and Poland, 2016).

Fluid inclusion barometry via micro-thermometry and Raman spectroscopy is a well-established technique that has regularly been applied to determine the structure of certain magma plumbing systems over the past four decades (e.g., Roedder and Bodnar, 1980; Roedder, 1984; Belkin et al., 1985; Hansteen et al., 1991, 1998; Andersen et al., 1995; Yamamoto et al., 2002, 2007; Frezzotti et al., 2003; Klügel et al., 2005, 2020; Bali et al., 2008; Hansteen and Klügel, 2008; Ladenberger et al., 2009; Hildner et al., 2011, 2012; Zanon and Frezzotti, 2013; Levresse et al., 2016; Boudoire et al., 2023; Dayton et al., 2023; Zanon et al., 2024a). Micro-thermometry – which consists of measuring the temperature at which phase changes occur in a fluid under a microscope– can determine the CO2 density of fluid inclusions with bulk densities above critical (>~0.45 g/cm3) with great accuracy (e.g., Bakker, 2021). However, it is difficult to observe the phase transition in fluid inclusions that homogenize to the vapour phase and therefore the technique is limited in its applicability to estimate the shallow structure of magmatic plumbing systems (<5-7 km). Developments in the past two decades in the accuracy and precision of Raman spectroscopy measurements of CO2 density – which uses spectral features of CO2 fluids to calculate a CO2 density using an instrument-specific calibration –  (e.g., Rosso and Bodnar, 1995; Kawakami et al., 2003; Yamamoto and Kagi, 2006; Fall et al., 2011; Wang et al., 2011, 2019; Lamadrid et al., 2017; Sublett et al., 2020; DeVitre et al., 2021; Le et al., 2021) have allowed to bridge this gap and make it possible to gain access to shallow storage regions with improved accuracy. Recent work demonstrated that Raman-based barometry of CO2-rich fluid inclusions returns the same results as melt inclusion barometry and provide much smaller uncertainties than mineral barometry, while requiring far less time and resources than melt inclusion analyses (DeVitre and Wieser, 2024; Lerner et al., 2024). Although micro thermometry is generally more accurate for high-density CO2 fluids (>0.6 g/cm3), Raman spectroscopy has the advantage of being able to easily probe nearly the entire range of geologically relevant CO2 densities (from very low to high). The CO2 density obtained from either technique, along with an estimate of entrapment temperature, is converted into an entrapment pressure using a CO2 Equation of State (EOS, Fig. 1). One major advantage of fluid inclusion barometry is that the conversion of CO2 density to pressure is relatively insensitive to the choice of entrapment temperature, a parameter which may not be known at the onset of a new eruptive episode (Fig. 1a-b). The difference in pressure for EOS calculations considering the lower and upper limit of liquidus temperatures for olivine-saturated melts erupted at Kīlauea volcano throughout its history (~1100 and 1350 ˚C; DeVitre and Wieser, 2024) is at most ~20 %, which corresponds to ~0.2-0.4 km at depths representative of the Halemaʻumaʻu reservoir (1-2 km), and ~0.6-1.0  km at the depths of the South Caldera reservoir (3-5 km; Fig. 1b and Fig. S3-S6). These errors are of similar magnitude to those associated with the conversion of pressures to depths through an estimate of crustal density (an issue affecting all petrological barometers).

Paragraph here about the drawbacks of the method.

Recent studies have speculated that fluid inclusion barometry, using either microthermometry or Raman spectroscopy, could be performed quickly enough to be useful for near-real-time volcano monitoring (Dayton et al., 2023; Zanon et al., 2024b) but this has not been formally demonstrated. The CONVERSE Hawai‘i Scientific Advisory Committee (Cooper et al., 2023) specifically recommended that key science questions should be identified, and pre-planning science activities performed, to facilitate more rapid implementation across a broader scientific group during hazardous eruptions. Here, we performed a near-real-time simulation to rigorously assess how quickly fluid inclusion depths can be obtained from erupted material using Raman spectroscopy, and whether these timescales are short enough to have utility as a petrological monitoring tool. We focus on Raman spectroscopy given that it is applicable to a wider range of storage depths than micro-thermometry. The CONVERSE Hawai‘i Scientific Advisory Committee (Cooper et al., 2023) specifically recommended that key science questions should be identified, and pre-planning science activities performed, to facilitate more rapid implementation across a broader scientific group during hazardous eruptions. Performing these simulations during relatively small, low-hazard eruptions (as here) or as hypothetical simulations (e.g.,  (Andrews et al., 2019)) is vital to iron-out bottlenecks so that we are as prepared as possible for the next large volcanic crisis (Dietterich and Neal, 2022). Importantly, this simulation revealed that rapid-response fluid inclusion work in collaboration with academic institutions was not taxing on observatory or academic staff and can be employed during future eruptions.

Figure 1. Sensitivity of fluid inclusion barometry to temperature and molar proportions of H2O in the exsolved fluid phase (XH2O). (a) CO2 density vs Pressure for different magmatically relevant entrapment temperatures at Kīlauea using the EOS of Span and Wagner, (1996). 1100 and 1350 ˚C are the lower and upper limit of liquidus temperatures for olivine-saturated melts erupted at Kīlauea volcano throughout its history. 1150 ˚C was the temperature used for day 1 and 2 of the simulation, 1240 ˚C is the rounded mean and median of all measured temperatures in our final dataset. (b) Panel a close-up. Grey boxes show Kīlauea magma storage inferred from fluid inclusions, melt inclusions and geophysics (DeVitre and Wieser, 2024; Lerner et al., 2024). HMM= Halemaʻumaʻu reservoir, SC = South Caldera reservoir. Stars show hypothetical fluid inclusions trapped at Halemaʻumaʻu and South Caldera with T=1150 ˚C and error-bars representing 1σ uncertainty from Monte Carlo simulations using a temperature uncertainty of ±125 ˚C (1350˚C -1100˚C 2). (c) CO2 density vs pressure at 1150 ˚C for various XH2O using the mixed H2O-CO2 EOS of Duan and Zhang (2006). The small discontinuity at 200 MPa is due to parameter values being switched (Yoshimura, 2023). (d) Panel c close-up. Stars show hypothetical fluid inclusions trapped at Halema’uma’u and South Caldera with T = 1150 ˚C, XH2O inferred using the XH2O -P relationship of DeVitre and Wieser (2024). Error bars represent 1σ uncertainty from Monte Carlo simulations using an XH2O uncertainty of ±0.1 based on the maximum range of XH2O inferred in our dataset (XH2Omax-XH2Omin2) when calculated using the upper limit XH2O-P relationship for Kīlauea from DeVitre and Wieser (2024).

2. Timeline of Rapid-response Simulation

The eruption onset of Kīlauea volcano on September 10, 2023 provided an unprecedented opportunity to test the validity and speed of the fluid inclusion method, given that depths of the two main magma storage regions (Halemaʻumaʻu at 1-2 km and South Caldera at 3-5 km) at this volcano have been well constrained by various independent geophysical and petrological methods, including prior fluid inclusion barometry (DeVitre and Wieser, 2024; Lerner et al., 2024). Tephra samples representing the first ~14 hours of the September 2023 eruption were collected by Hawaiian Volcano Observatory (HVO) geologists on September 12 and mailed to UC Berkeley on September 15th (Fig. S1). A schematic of the workflow and detailed timeline is available in the supplement (Fig. S1).

Our simulation started on September 20 at 9 am PST (Day 1), the morning after sample receipt (Fig. S1). We used a production-line-style workflow involving two undergraduates, a 1st year graduate student, a post-doc, and an assistant professor, with stations for crushing and sieving, mineral picking, fluid inclusion preparation, sample cataloguing, and analysis. We crushed and sieved tephra, picked olivine crystals (size fractions 0.5-1 and 1-2 mm), and mounted them in CrystalBondTM* to search for fluid inclusions. By ~2 pm PST, we collected our first Raman spectra, and by ~7 pm PST, we had calculated CO2  densities from 16 fluid inclusions using a previously established instrument-specific calibration of the relationship between CO2 density and Fermi diad splitting distance (DeVitre et al., 2021; DeVitre and Wieser, 2024). All spectra processing and subsequent calculations were performed using DiadFit (Wieser and DeVitre, 2024), allowing for a daily data-to-results turnaround of ~15 minutes. Pressures were calculated using the pure CO2 EOS of Span & Wagner (1996) implemented in DiadFit. At the time of our simulation, it was challenging to perform EOS calculations considering the possible presence of H2O in the exsolved fluid due to a lack of publicly available software running on modern operating systems. However, recent work by Yoshimura (2023) identified errors in the published equations for the H2O-CO2 EOS of Duan & Zhang (2006) and provided open-source C code meaning that such calculations can be now be performed in DiadFit. Using estimates of XH2O from previously published melt inclusion data at Kīlauea (Wieser et al., 2021; DeVitre and Wieser, 2024), calculated pressures would be ~10% higher than originally reported to HVO if the CO2-H2O EOS had been used (Fig. 2d, Fig S1 in supplementary materials). This does not affect the interpretation of our results, as the shift is far smaller than the pressure offset between the Halemaʻumaʻu and South Caldera reservoir.

Figure 2. Evolution of results over 4 days. a) Schematic model of Kīlauea’s plumbing system, indicating reservoir depths (HMM = Halemaʻumaʻu; SC = South-Caldera). b) Day 1 fluid inclusion depths, as reported to HVO, are consistent with the estimated depths of the Halemaʻumaʻu reservoir. Kolmogorov-Smirnoff tests indicate that September 2023 fluid inclusions record significantly shallower depths than fluid inclusions (critical D = 0.22, stat = 0.24, pval=0.016) and melt inclusions (critical D = 0.22, stat = 0.41, pval=3.51e-06) from the 2018 Lower East Rift Zone (LERZ) eruption, which required a contribution from the South Caldera reservoir (Wieser et al., 2021; DeVitre and Wieser, 2024). 1LERZ 2018 melt inclusions (Wieser et al., 2021); 2LERZ 2018 fluid inclusions (DeVitre and Wieser, 2024). c) Day 2 data, as reported, confirmed a likely dominant role for the Halemaʻumaʻu reservoir. A conservative degassing filter was applied (SO2/CO2 peak ratio < 0.1). d) Day 4 data, as reported. Means were taken for repeated analyses of single fluid inclusions and additional data filters (e.g., SO2/CO2 peak ratio < 0.22), fluid inclusion-specific temperatures, and a more appropriate crustal density model (~2300 kg/m3 with a normal error distribution of 100 kg/m3) were applied. Error-bars correspond to uncertainties propagated using Monte Carlo simulations and olivine Fo equilibrium field is calculated based on glass EPMA data collected on September 11, 2023 (see Supplementary Information S1 Appendix). The shifted histogram ‘H2O effect’ shows the effect of H2O corrections on pressures recalculated using XH2O inferred from melt inclusions (Wieser et al., 2021; DeVitre and Wieser, 2024).

For the first and second days of the simulation, we assumed an entrapment temperature of 1150 ˚C for all fluid inclusions, based on geothermometric estimates of previously erupted liquids (Gansecki et al., 2019; DeVitre and Wieser, 2024). On Day 4, we calculated entrapment temperatures for each fluid inclusion using the host forsterite content measured by EDS (DeVitre and Wieser, 2024), yielding temperatures spanning 1182–1307 ˚C. The average error induced by our initial assumption of 1150 ˚C is only ~7% (with a maximum offset of only 12 %). While crystallization temperatures at Kīlauea are relatively well constrained relative to other volcanic systems, using similar regression methods to those employed by  DeVitre and Wieser (2024) relating liquid compositions to host olivine contents, it should always be possible to constrain temperatures within ~100 K at different volcanic systems using host mineral chemistry.

On days 1 and 2, pressures were converted into depths using the crustal density model of Ryan (1987) parameterized by Lerner et al. (2021). We shared the resulting histogram (Fig. 2a-b) of storage depths with HVO collaborators showing that crystals, and thus magma, were likely coming from the shallower Halemaʻumaʻu reservoir of Kīlauea (Fig. 2a-b). It worthwhile to note that the number of fluid inclusions reported on Day 1 (N=16) is comparable to many melt inclusion (MI) studies, which often aim for ~20 per sample but frequently report fewer. For example, Lerner et al. (2021) reported only 9 MI from the 2018 eruption with sufficient data to calculate saturation pressures (counting MI with glass major element contents and H2O contents, MI with glass CO2 measurements if there was no bubble, and glass + bubble measurements if a bubble was present). Using the same criteria, Aster et al. (2016) only reported 13 complete measurements from Lassen Peak.

We also had an additional ~20 fluid inclusions fully prepared and catalogued for analysis by the end of Day 1. On Day 2, these 20 fluid inclusions were analysed, while additional fluid inclusions were prepared and catalogued. After analysis of ~15 samples, the crystals were removed from CrystalBondTM* and placed on tape for epoxy mount-making. Epoxy was poured at the end of Day 2. By ~8:30 pm PST on Day 2, we shared an updated histogram of 46 fluid inclusion pressures and depths from 28 crystals, confirming the dominant contribution of the Halemaʻumaʻu reservoir (Fig. 2a and c). On Day 3, we finished analysing the remaining prepared fluid inclusions. Then we polished the epoxy mount and catalogued the regions of crystals closest to each fluid inclusion on which to perform EDS analyses. On Day 4, olivine forsterite contents (Fo = 100*Mg/(Mg+Fe) molar) were determined by EDS, providing a framework to further interpret the plumbing system (Fig. 2d). The Fo content of an olivine is a function of MgO and FeO in the liquid and the Ol-Liq partitioning coefficient (KD). Thus, the Fo contents of the host olivine close to each fluid inclusion can be used to assess the calculated storage depth in its broader petrographic context (e.g., distinguishing high-Fo olivines which crystallize from more primitive melts from low Fo olivines forming in more evolved melts). This olivine forsterite content can also be used to estimate the likely entrapment temperature of each fluid inclusion (DeVitre and Wieser, 2024)for performing EOS calculations, rather than having to use a uniform temperature as on Day 1-2. We thus recalculated all fluid inclusion pressures on Day 4 using fluid inclusion-specific entrapment temperatures.

Our results on Day 4 clearly show that the majority of fluid inclusions were entrapped at ~1–2 km below the surface (Fig. 2d), which aligns well with the depths of the Halemaʻumaʻu reservoir interpreted from geophysics (Baker and Amelung, 2012; Anderson and Poland, 2016; Anderson et al., 2019), melt inclusion barometry (Lerner et al., 2021; Wieser et al., 2021), and fluid inclusions (DeVitre and Wieser, 2024; Lerner et al., 2024). While the greater number of analyses from data processed on Day 2 and Day 4 certainly enhance the story, it is notable that depths calculated on Day 1 fall within final proposed storage reservoir depths. Rapid EDS analyses of olivine Fo contents close to each fluid inclusion reveal that olivine crystals grew from a wide range of melt compositions. It is interesting to note that fluid inclusions in the cores of high-Fo (e.g., >86) olivine crystals return pressures indicative of the shallower Halemaʻumaʻu reservoir, given that it has been suggested based on previous eruptions that these high-Fo olivine crystals predominantly grow in the deeper South Caldera reservoir (Fig. 2a) where high-MgO melts are thought to reside (Helz et al., 2014; Pietruszka et al., 2015, 2018; Wieser et al., 2019; Lerner et al., 2024). We suggest three possible scenarios to explain the relatively shallow pressures documented in high-Fo olivine crystals:

1) Fluid inclusions in high-Fo olivine crystals were entrapped within the South Caldera reservoir and then transported into the Halemaʻumaʻu reservoir, where the fluid inclusions re-equilibrated to lower pressures prior to eruption over shorter timescales than would be required to reset the host Fo content.

2) High-MgO melts were injected into the Halemaʻumaʻu reservoir, where high-Fo olivine crystallized and trapped fluid inclusions at shallow depths (Lerner et al., 2024).

3) Complex skeletal growth of olivine crystals during extensive undercooling (Welsch et al., 2013) could mean that high-Fo olivine cores which initially grew in the South Caldera reservoir texturally evolved and trapped lower pressure fluid inclusions in the Halemaʻumaʻu reservoir.

We think that scenario 1 is unlikely given the that fluid inclusions from the 2018 LERZ eruption appear not to have re-equilibrated despite stalling in the Halemaʻumaʻu reservoir for up to 2 years (Mourey et al., 2023; DeVitre and Wieser, 2024), and our models of fluid inclusion re-equilibration indicate <10% change in pressure over ~ 2 yrs. Current data does not allow us to resolve scenario 2 vs 3, but this eruption could provide an opportunity to explore this further, such as through detailed phosphorous mapping in olivine around fluid inclusions (e.g., melt inclusions in Esposito et al., 2023). Regardless of the exact mechanism, our fluid inclusion pressures indicate that erupted crystal cargo experienced storage at Halemaʻumaʻu reservoir depths prior to eruption, and thus this was the most probable reservoir supplying magma to the surface in the September 2023 eruption.

3. Broader applicability of the method

3. 1. Application

The use of a pure CO2 EOS results in an underestimate of the entrapment pressure of fluid inclusions if there was H2O in the fluid at the time of inclusion entrapment (Fig. 2). At Kīlauea, melt inclusion data indicates that the exsolved fluid phase is ~90% CO2 at pressures corresponding to the Halema’uma’u reservoir, and >95% CO2 at pressures indicative of the South Caldera reservoir (Wieser et al., 2021; DeVitre and Wieser, 2024). As discussed above, the effect of XH2O is small on calculated pressures presented here (Fig. 2d). However, to assess the utility of the fluid inclusion method for rapid-response petrology globally, it is necessary to evaluate XH2O contents, and their effect on fluid inclusion pressures.

We compiled published melt inclusion data from all over the world, spanning many different tectonic settings (Fig. 3). We calculate XH2O using the solubility model MagmaSat (Ghiorso and Gualda, 2015), implemented in VESIcal (Iacovino et al., 2021). We show the distribution, median, 25th and 75th percentiles of calculated XH2O for 4069 melt inclusions with SiO2 < 57 wt%, MgO < 16 wt% and saturation pressure > 20 MPa on Fig 3b-c, coloured by tectonic setting. For each volcano, there is a clear correlation between XH2O and pressure where XH2O becomes very high at shallow pressures (Fig. S9a-i) as melt inclusions are trapped during enhanced degassing of H2O upon ascent. Thus, in this compilation, the median and 25th percentiles are likely most representative of XH2O in the main magma storage region. We stress the importance of considering XH2O when determining the suitability of this method to a particular system given that the XH2O pressure correction tends to be more significant at higher entrapment pressures. For example, if we consider an XH2O of 0.1 (the median XH2O of our fluid inclusion dataset at Kīlauea and a commonly assumed XH2O in deep storage systems), the pressure correction goes from < 15% at pressures < 220 MPa (~10 km) to ~20% at 700 MPa (~30 km). Naturally, the correction is even more significant if XH2O is greater than 0.1 (e.g., for XH2O=0.2, the correction is 25-30% at P<150 MPa and ~50% at P = 700 MPa; Fig 1).

Figure 3. Global compilation of XH2O in the exsolved fluid phase from melt inclusion data for continental rift, continental intraplate, alkaline and tholeiitic ocean island basalt (OIB, see Fig S7), mid-ocean ridge and subduction zone volcanoes (details and references in the supplement). Data are filtered to SiO2 < 57 wt%, MgO < 16 wt% and saturation pressure >20 MPa (supplement for details). (a) World map coloured by median XH2O of the melt inclusion suites. Circles indicate glass-only MI data and stars those for which CO2 has been constrained by Raman. (b) Boxplot of XH2O for melt inclusion suites plotted on panel a. Boxplots show the median, Q1 (25th percentile), Q3 (75th percentile) and whiskers mark the last datapoint before Q3+1.5* (Q3-Q1) and the first datapoint after Q1-1.5*(Q3-Q1). Violin plots show the density distribution of all the data and are coloured according to tectonic setting. (c) Boxplot of XH2O showing only MI suites which constrained total CO2 by Raman spectroscopy. EAR – East African Rift, GSC – Galápagos Spreading Center, NAR – North Atlantic Ridge, JdFR – Juan de Fuca Ridge, GR – Gakkel Ridge, MAR – Mid-Atlantic Ridge, EPR – East Pacific Rise, IBM – Izu Bonin Mariana.

Notably, most melt inclusion suites in our global compilation did not measure CO2 in the vapour bubble, meaning that the total CO2 content has been underestimated, and XH2O overestimated. This can be demonstrated by comparing XH2O values at volcanoes where there are some studies with Raman measurements and some without (Fig. S9c EAR; Fig. S9h Kamchatka, and Cascades). Thus, Fig. 3c shows a compilation only using melt inclusions where bubble CO2 was measured by Raman spectroscopy.

Both compilations demonstrate that subduction zones record much higher XH2O globally than mid-ocean ridge basalts, ocean island basalts, continental rifts and intraplate volcanoes. It is also interesting that within hotspot and intraplate settings, regions with tholeiitic compositions (e.g. Iceland, Hawai’i, Galápagos, Réunion, Deccan Traps) generally have lower XH2O values than regions with more alkaline magmas (e.g., Canary Islands, Azores, Cabo Verde, Supporting Fig. S9). This likely represents the lower melt extents in alkaline settings, and the possibility of more volatile-rich sources (e.g., DeVitre et al. 2023).

Thus, while rapid-response fluid inclusion barometry is highly applicable to active volcanic regions such as Hawai’i, Iceland, East African Rift, Galápagos, Réunion, Cabo Verde, and the Canary Islands, it is not appropriate in subduction zones such as Alaska, Kamchatka, or Central America. Interestingly, although there are only two studies with Raman data in the Cascades arc (Aster et al., 2016; Venugopal et al., 2020), the inclusions with highest pressures have XH2O values <0.2. This may indicate that in drier subduction zones, fluid inclusions may have some utility for the most mafic, CO2-rich magmas.

To increase the accuracy of rapid-response petrological monitoring during future eruptions, it should be a priority to perform melt inclusion studies accounting for vapour bubble CO2 in more volcanic systems worldwide, given the large offsets between studies accounting for bubbles and those which do not in XH2O space (Fig. 3), and to determine approximate trends in XH2O-pressure space for a given volcanic system or region during times of quiescence. This will allow assessment of the suitability of the fluid inclusion method for a given volcano and permit appropriate corrections for the complexities of mixed fluids without requiring melt inclusion work during each eruptive episode. In systems with no prior constraints, our observations of correlations between alkalinity and XH2O can provide a first-order assessment of appropriate XH2O values to use. We note that once arc magmas are excluded from the compilation, even if XH2O is entirely unconstrained, fluid inclusion barometry is still more accurate than other methods such as mineral-melt thermobarometry in recovering magma storage pressures.

4. Conclusion

Our simulation shows that magma storage depths can be determined within a day of receiving samples, with modest resources and personnel requirements (e.g. no overnight shift work, with normal semester teaching and class schedules). For example, sample preparation was carried out using transmitted-reflected light microscopes from the University of California teaching collection, only using a research-grade microscope for sample cataloguing. Raman spectrometers are widely available at many universities, given that it is a popular technique in many other fields, such as material sciences, physics, chemistry, and biology, and the W-filament SEM used for EDS analyses to measure olivine Fo contents has been around for 15 years (S1 Appendix). Importantly, this simulation showed that rapid-response work in collaboration with universities was not taxing on observatory or academic staff, particularly considering the usefulness of information provided. This means this methodology can be employed during future eruptions to help observatories deduce the geometry of the plumbing system supplying magma, adding a crucial information for interpreting activity (Re et al., 2021), without detracting from other essential duties during eruption responses. For example, during the 2018 LERZ Kilauea eruption, HVO’s near-real-time chemical monitoring with bulk rock ED-XRF identified the appearance and disappearance of many magma batches (Gansecki et al., 2019). Fluid inclusion barometry could have linked these distinct chemical signatures to different storage regions, addressing the questions of scientists and residents alike. Similarly, the return of eruptive activity at Kīlauea in 2020 was accompanied by many questions about how the magmatic plumbing system had changed following the summit collapse in 2018 (Lynn et al., 2024). Fluid inclusion barometry would have been a critical addition to understanding the eruption and the system.

Our global compilation of XH2O values shows that Raman-based fluid inclusion barometry has utility as a rapid-response petrological monitoring method at many of the world’s most active and hazardous basaltic volcanoes (e.g., Galápagos, Réunion, Azores, Canary Islands, Iceland, Cabo Verde). As our understanding of exsolved fluid compositions improves as more studies account for CO2 held within vapour bubbles, it is likely that the applicability of rapid-response fluid inclusion barometry method may expand to even more volcanic systems (e.g. to drier arc magmas such as in the Cascades).

Overall, fluid inclusion barometry is broadly applicable, and adds valuable quantitative storage depth information that provides a key advancement for volcano observatories that utilize near-real-time geochemical monitoring to better understand eruptions as they unfold (see overview–(Re et al., 2021); Hawai‘i–(Gansecki et al., 2019); La Palma–(Pankhurst et al., 2022); Fuego–(Liu et al., 2020); Italy–(Corsaro and Miraglia, 2022)).

5. Acknowledgements

Any use of trade, product, or firm names is for descriptive purposes only and does not imply endorsement by the U.S. Government.

5.1. Author contributions

Author contributions for lab work are shown on Fig. S1. CD and PW wrote the paper. CD, PW, AR, BR, and AB prepared tephra, picked olivine, found fluid inclusions, catalogued them, mounted them, and conducted Raman analyses. CD and PW performed all spectral fitting, data processing, and figure making, with schematic cartoons shown in Fig. S1 from AB. JG developed the Mg/Fe calibration for the EDS detector and MG performed EDS analyses with help from JG. KJL, DTD, NID and KMM collected samples, processed them in Hilo, provided eruption context and edited the manuscript. KJL and DD prepared the glass mount and did the EPMA glass analyses.

5.2. Funding

National Science Foundation grant EAR 2217371 (PW)

Berkeley Rose Hills Innovator Program (PW)

5.3. Competing interests

Authors declare that they have no competing interests.

6. Data availability

All data are made available in the Supplementary Information associated with the publication. We include detailed materials and methods (S1 Appendix), complete processed fluid inclusion dataset (S2 Dataset), the global melt inclusions dataset (S3 Dataset), a compilation of microphotographs of the fluid inclusions and crystals that were used for navigation only during the simulation (S3 FI Image Compilation) and a record of emails reporting results to HVO and tracking receipts related to sample shipment (S4 Email and tracking record). All raw data and Jupyter notebooks are stored on Github at the following link: https://github.com/cljdevitre/2023_Kilauea-rapid-response-simulation. The Github repository will be archived on Zenodo upon acceptance.

7. References